## Average Peak Demand
Month | Peak Demand kW
2021-05-01 | 586.501
2021-06-01 | 582.742
2021-07-01 | 597.31
2021-08-01 | 589.979
2021-09-01 | 575.88
2021-10-01 | 580.392
2021-11-01 | 564.884
2021-12-01 | 735.383
2022-01-01 | 739.612
2022-02-01 | 750.609
2022-03-01 | 763.862
2022-04-01 | 747.225
Average Demand | 651.198

## PDF Calculation
Date | Hour (EST) | Coincident Peak (kW) | Coincident Peak | Ontario System Peaks (MW)
Highest Peaks for Ontario from May to April | Hour Ending for the Highest Peak | Customer's Coincident Use | (MW)
Date 1 | Hour | Customer Coincident Peak 1 | Customer Coincident Peak 1 (in MW) | Ontario System Peak 1
Date 2 | Hour | Customer Coincident Peak 2 | Customer Coincident Peak 2 (in MW) | Ontario System Peak 2
Date 3 | Hour | Customer Coincident Peak 3 | Customer Coincident Peak 3 (in MW) | Ontario System Peak 3
Date 4 | Hour | Customer Coincident Peak 4 | Customer Coincident Peak 4 (in MW) | Ontario System Peak 4
Date 5 | Hour | Customer Coincident Peak 5 | Customer Coincident Peak 5 (in MW) | Ontario System Peak 5
| TOTALS | Sum of Coincident Peaks (in kW) | Sum of Coincident Peaks (in MW) | Sum of Ontario System Peaks (in MW)
Peak Demand Factor |  | Sum of Coincident Peaks (in MW) | divided by | Sum of Ontario System Peaks (in MW)
JULY to JUNE (Adjustment Period) |  | Customer Peak Demand Factor

## Eligibility
Assessed Facility Size | Industry Classifcation Restrictions | Response Required
>500 kW <1000 kW | Service must be classified under NAICS code commencing with: “31”, “32”, “33” - manufacturing “1114” - greenhouse, nursery, floriculture production | Opt-In
>1000 kW | N/A | Opt-In
>5000 kW | N/A | Opt-Out

## Class A vs Class B
| Class B - Global Adjustment |  |  | Class A - Global Adjustment
Comparison | MWh | 1st Estimate Global Adjustment Rate ($/MWh) | Global Adjustment Bill | Peak Demand Factor | Global Adjustment $/Month | Global Adjustment Bill | % Change
2021-05-01 | 253.35 | 105.31 | 26680.2885 | 1.9726e-05 | 947837104.51 | 18697.1185 | -29.92%
2021-06-01 | 205.233 | 113.52 | 23298.0502 | 1.9726e-05 | 946206119.67 | 18664.9456 | -19.89%
2021-07-01 | 211.687 | 76.12 | 16113.6144 | 1.9726e-05 | 845156295.94 | 16671.6278 | 3.463%
2021-08-01 | 218.35 | 87.34 | 19070.689 | 1.9726e-05 | 604920202.78 | 11932.7094 | -37.43%
2021-09-01 | 235.56 | 55.19 | 13000.5564 | 1.9726e-05 | 727235657.39 | 14345.5149 | 10.35%
2021-10-01 | 222.35 | 74.02 | 16458.347 | 1.9726e-05 | 524206287.2 | 10340.5396 | -37.17%
2021-11-01 | 256.87 | 63.42 | 16290.6954 | 1.9726e-05 | 576615781.28 | 11374.3739 | -30.18%
2021-12-01 | 277.158 | 54.43 | 15085.7099 | 1.9726e-05 | 679387573.69 | 13401.6593 | -11.16%
2022-01-01 | 279.597 | 48.29 | 13501.7391 | 1.9726e-05 | 501480088.92 | 9892.2406 | -26.73%
2022-02-01 | 229.852 | 50.19 | 11536.2719 | 1.9726e-05 | 528169880.23 | 10418.7258 | -9.687%
2022-03-01 | 240.899 | 55 | 13249.445 | 1.9726e-05 | 616335956.25 | 12157.8976 | -8.238%
2022-04-01 | 248.621 | 59.15 | 14705.9322 | 1.9726e-05 | 728308863.55 | 14366.685 | -2.307%
|  |  | 198991.339 |  |  | 162264.0379 | -18.46%
| Savings on Class A |  | 36727.3011
| Savings Including HST |  | 41501.8502

## ICI Timeline
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Previous Year | May: BASE PERIOD ------------------------------------------------------->
Current Year | Jan: BASE PERIOD CONTINUED ----------->; May: OPT IN / OUT (By June 15); Jul: ADJUSTMENT PERIOD ----------------------------------------->
Next Year | Jan: ADJUSTMENT PERIOD CONTINUED --------------------------->
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Current Year | ADJUSTMENT PERIOD CONTINUED ---------------------------> May: BASE PERIOD ------------------------------------------------------->
Next Year | ADJUSTMENT PERIOD CONTINUED ---------------------------> Jan: BASE PERIOD CONTINUED ----------->; ADJUSTMENT PERIOD CONTINUED ---------------------------> May: OPT IN / OUT (By June 15); ADJUSTMENT PERIOD CONTINUED ---------------------------> Jul: ADJUSTMENT PERIOD ----------------------------------------->
2 Years from Now | ADJUSTMENT PERIOD CONTINUED ---------------------------> Jan: ADJUSTMENT PERIOD CONTINUED --------------------------->