## Eligible Measures
Version 6.0 - Retrofit Program - Notched / Cogged V-Belt Eligible Measures Worksheet - May 1, 2017
Systems must operate a minimum of 2,000 hours per year and must replace a V-belt to be eligible for Participant Incentives. Energy efficiency solutions, including those considered in this worksheet, can be complex. This worksheet does not endorse the design, engineering and installation completed for each particular component. Participants should consult with manufacturer of equipment, before modifying their system, to verify compatibility. Note: New construction or major renovation projects which are eligible under the Save on Energy High Performance New Construction Program are not eligible under the Save on Energy RETROFIT Program. INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of Notched / Cogged V-belts to be installed in the 'Quantity' row. Based on the size of the motor on which the Notched / Cogged V-belt(s) will be installed on, determine the Participant Incentive per belt and enter this amount in the 'Participant Incentive ($/Notched or Cogged V-belt)' row. The 'Total Participant Incentive' row will automatically populate based on this information. The 'Required Information' must also be completed for each unit. The sum of the 'Total Participant Incentive' amounts will be automatically populated in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. For more than six Notched / Cogged V-belt sizes, please use an additional copy of this worksheet. In order to receive your Participant Incentive payment, invoices showing proof of payment must be submitted to your LDC. It is recommended that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved.
Notched/Cogged V-Belt Incentives
Motor Size on which Notched / Cogged V-belt is installed (HP) |  | 1 | 1.5 | 2 | 3 | 5 | 7.5 | 10 | 15 | 20 | 25 | 30 | 40 | 50 | 60 | 75 | 100
Participant Incentive ($/Notched or Cogged V-belt) |  | 5 | 7 | 9 | 13 | 22 | 30 | 45 | 65 | 90 | 110 | 135 | 180 | 220 | 265 | 335 | 445
Required Information |  |  |  | Example |  | #1 |  | #2 |  | #3 |  | #4 |  | #5 |  | #6
Reason: “N”=New or “F”=Failed |  |  |  | N
Location: Building and Room |  |  |  | North Pump
Function: Fan, Pump |  |  |  | Pump
Notched/Cogged V-Belt Manufacturer |  |  |  | ABC
Notched/Cogged V-Belt Model Number |  |  |  | GH553
Motor Size in Horsepower |  |  |  | 5
Motor Speed in RPM |  |  |  | 1800
Motor Efficiency |  |  |  | 94.2%
Annual Run Hours (actual) |  |  |  | 5000
Quantity |  |  |  | 1
Participant Incentive ($/Notched or Cogged V-belt) |  |  |  | 40
Total Participant Incentive |  |  |  | 40 |  | $0.00 |  | $0.00 |  | $0.00 |  | $0.00 |  | $0.00 |  | $0.00
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and the incentive amounts do not include HST or other applicable taxes.
[9 empty] | TOTAL PARTICIPANT INCENTIVE REQUESTED: | [6 empty] | 0
Name of Applicant:
Company Name:
Building Address:
A mark of the Province of Ontario protected under Canadian trademark law.
Used under sublicence.
OMOfficial Mark of the Independent Electricity System Operator. Used under licence.

## Version Control (hidden)
Version Number | 6
Month | May
Day | 1
Year | 2017
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Revision Type | Tab | Details
5 | 2013-12-19 | Formatting | Synch Belt Eligible Measures | Blank columns and rows (far right and bottom) were hidden
5 | 2013-12-19 | Formatting | Version Control | Version control updated. Version: 5.0 Date: January 31, 2014
5 | 2014-01-01 | Revision No. | Synch Belt Eligible Measures | Footer Revision No. was changed from V4.0 to V5.0
5 | 2014-01-02 | Revision No. | Synch Belt Eligible Measures | Footer Revision No. was changed from V4.0 to V5.0